# Support & Safety Boundaries — English Official Draft

# Adaptive Lighting, Shade & Climate Automation for Control4

## 1. Purpose

This document defines the support scope, safety boundaries, dealer responsibilities, and excluded use cases for Adaptive Lighting, Shade & Climate Automation for Control4.

The purpose of this document is to make clear what the driver is designed to do, what it is not designed to do, and what information is required when requesting support.

This driver is intended to improve comfort automation for lighting, shades, and limited climate assistance in Control4 residential projects. It is not intended to replace professional project design, Control4 Composer programming, dealer judgment, or safety-critical systems.

## 2. Product Scope

The first commercial version focuses on comfort automation for Control4 residential projects.

Supported product areas include:

Adaptive lighting automation

Adaptive shade, blind, and shading automation

Comfort climate assistance for supported AC and floor-heating devices

Automation Style behavior: Eco, Balanced, and Proactive

Residence Mode Home / Away comfort behavior

Manual operation protection

Diagnostic logging for supported automation behavior

The driver is designed to help dealers reduce repeated room logic programming and achieve high-level intelligent automation behavior without requiring advanced custom programming skills.

## 3. Supported Automation Areas

## 3.1 Lighting Automation

Supported lighting automation may include:

Lighting behavior based on room occupancy

Different lighting behavior for daytime, evening, night, and late night

Sunrise / sunset based behavior

Weather brightness context

Manual light on / off protection

Lighting scene behavior through the driver’s commands

User preference learning after supported scene behavior

Reduced repeated automatic override of user intent

Lighting automation depends on correct room naming, light naming, motion sensor configuration, and keypad / scene integration.

## 3.2 Shade / Blind / Shading Automation

Supported shade automation may include:

Daytime opening behavior

Orientation and sunlight-related partial closing behavior

Weather-aware shade behavior

Night closing behavior

Bedroom night behavior

Wake-related shade recheck behavior

Manual shade operation protection

Shade automation depends heavily on correct shade naming, shade type, orientation, room placement, and device capability.

If a shade should not be automatically controlled, remove the orientation from the shade name.

## 3.3 Comfort Climate Assistance

Supported comfort climate assistance may include:

AC comfort cooling under high-temperature conditions

Conservative cooling fallback when weather trend data is missing but indoor temperature is high

AC heating when the room is cold and the current room has no floor heating

Staged AC setpoint rollback after a room becomes unoccupied

Comfort restoration when a room becomes occupied again

Floor-heating target setpoint selection based on Automation Style

Residence Mode Away energy-saving adjustment

Residence Mode Home comfort recheck

Comfort climate assistance is not a complete HVAC management system.

## 4. Explicitly Unsupported Areas

The first commercial version does not provide formal automation support for the following systems:

Fresh air systems

Security alarms

Intrusion detection

Door locks

Garage doors

Fire alarms

Smoke alarms

Carbon monoxide alarms

Water leak protection

Gas valves

Medical care

Elderly care

Emergency response automation

Any life-safety or safety-critical system

These systems may be considered future product directions, but they are not within the supported scope of the first commercial version.

Do not use this driver as the sole basis for any safety-critical decision or action.

## 5. Safety Boundary

This driver is a comfort automation driver.

It is not:

A security system

A life-safety system

An emergency response system

A fire alarm system

A water leak protection system

A gas safety system

A medical or elderly care system

A complete HVAC management system

A replacement for dealer design and validation

The driver should only be used for comfort automation within the supported areas described in this document.

The installing dealer is responsible for confirming that the behavior is appropriate for the residence, the homeowner, and the installed devices.

## 6. Dealer Responsibilities

The installing dealer is responsible for:

Confirming that the Control4 controller is online and running Control4 OS version 3.3.0 or later

Installing the driver correctly

Completing authorization where required

Entering accurate project location information

Correctly naming rooms

Correctly naming lights

Correctly naming shades, including type and orientation when automation is desired

Placing motion sensors and occupancy sensors in the correct rooms

Assigning keypad buttons to the driver’s lighting scene or shade commands where needed

Confirming that supported AC and floor-heating devices are in the correct rooms

Confirming that HVAC Control is enabled only when comfort climate assistance should be active

Validating lighting behavior

Validating shade behavior

Validating comfort climate behavior

Validating Residence Mode behavior

Confirming manual operation protection

Disabling or excluding any room or device that should not be automatically controlled

The driver reduces repeated logic programming, but it does not remove the need for professional project review and validation.

## 7. Naming and Configuration Responsibility

The driver uses project context, including room names, device names, room placement, sensor behavior, and Automation Style.

Incorrect naming or mapping may cause unexpected automation behavior.

Important configuration expectations:

Bedroom-related rooms should include bedroom-related wording when bedroom behavior is expected.

Light names should include lighting purpose where possible.

Shade names should include shade type and orientation when automatic shade behavior is expected.

If a shade should not be automatically controlled, remove orientation from the shade name.

Motion sensors should be assigned to the correct room.

Keypad buttons should call the driver’s lighting scenes, not Control4 Advanced Lighting scenes directly.

Non-driver lighting scenes are treated as manual lighting effect changes.

## 8. Manual Operation Protection Boundary

Manual operation protection is part of the driver’s design.

The driver attempts to reduce repeated automatic overriding of user intent. However, the quality of manual operation protection depends on correct integration and configuration.

Manual operation protection may apply to:

Manual light on / off

Lighting scene changes

Manual shade open / close / stop / position changes

AC mode / setpoint / fan changes

Floor-heating setpoint changes

Keypad buttons should call the lighting scenes provided by this driver and should not use Control4 Advanced Lighting scenes directly.

For manual control on a touchscreen, an empty Advanced Lighting scene can be created, and when the scene is invoked, it should call the driver’s lighting scene.

Any lighting scene not handled by the driver is treated as a manual change to the lighting effect.

## 9. Comfort Climate Boundary

Comfort climate assistance is designed to improve comfort and reduce unnecessary energy use within a limited scope.

It does not replace a professional HVAC design, HVAC safety control, manufacturer thermostat logic, or dealer validation.

Supported behavior may include:

AC comfort cooling

AC heating fallback when there is no floor heating in the current room

AC setpoint rollback after a room becomes unoccupied

Comfort restoration when a room becomes occupied

Floor-heating setpoint selection based on Automation Style

Residence Mode comfort behavior

Dealer must confirm:

AC devices are controllable and mapped to the correct rooms

Floor-heating devices are controllable and mapped to the correct rooms

Manual AC and floor-heating changes are respected

Rooms with floor heating do not trigger unnecessary AC heating fallback

Residence Mode Away and Home behavior is appropriate for the project

## 10. Residence Mode Boundary

Residence Mode is intended for user-triggered whole-home mode changes.

## 10.1 Away Mode

Away Mode turns off whole-home lighting and may apply energy-saving adjustment to supported AC or floor-heating devices depending on season and Automation Style.

Away Mode is treated as a high-priority user mode command.

## 10.2 Home Mode

Home Mode restores HVAC Control, triggers a conservative comfort recheck, and turns on the lighting at the residence entry area when the environment is dark.

Home Mode does not create a security or emergency response function.

## 11. Support Scope

Support covers issues related to the documented supported features of the driver.

Support may include:

Driver installation questions

Authorization questions

Project location configuration questions

Automation Style behavior questions

Lighting automation behavior questions

Shade automation behavior questions

Comfort climate assistance behavior questions

Residence Mode behavior questions

Manual operation protection questions

Log review for supported automation behavior

Support does not include:

General Control4 project design unrelated to the driver

Debugging unrelated third-party drivers

Full Composer programming service

Security system design

Life-safety system design

Emergency response system design

HVAC engineering design

Network troubleshooting unrelated to the driver

Support for unsupported systems listed in this document

## 12. Information Required for Support

When requesting support, include as much of the following information as possible:

Driver version

Control4 OS version

Controller model

Project type

Room name

Device name

Device type

Automation Style

Residence Mode state, if relevant

HVAC Control state, if relevant

Event time

Expected behavior

Actual behavior

Relevant driver log excerpt

Relevant TRACE_HVAC log excerpt, if the issue is climate-related

Steps to reproduce the issue

Do not send private authorization codes, tokens, passwords, or unrelated sensitive project data unless specifically requested by support.

## 13. Log and Diagnostic Boundary

The driver includes diagnostic logs to help with installation, validation, and support.

Useful HVAC-related log prefixes may include:

TRACE_HVAC_AC_DECISION

TRACE_HVAC_AC_VALIDATE

TRACE_HVAC_RESIDENCE

TRACE_HVAC_AC_SETBACK

TRACE_HVAC_FLOOR_HEAT

Logs are used to understand driver decisions and supported automation behavior.

Logs do not replace dealer validation.

## 14. Trial / Beta Support Boundary

During trial or beta use, behavior should be validated carefully before broader deployment.

Recommended trial period: 30 days.

During the trial, the dealer should validate:

Lighting behavior

Shade behavior

Comfort climate assistance

Manual operation protection

Residence Mode behavior

Homeowner acceptance

Log usefulness for support

Trial or beta access does not imply support for unsupported systems or safety-critical use cases.

## 15. Third-Party Notice

LivingMind Home is an independent third-party product and is not affiliated with, endorsed by, or sponsored by Control4, Snap One, or ADI. Control4 is a trademark of its respective owner.