# Trial / Beta Program Brief — English Official Draft

# Adaptive Lighting, Shade & Climate Automation for Control4

## 1. Purpose

This document explains the trial and beta program for Adaptive Lighting, Shade & Climate Automation for Control4.

The purpose of the trial / beta program is to allow qualified Control4 dealers and installers to evaluate the driver in real residential projects before wider commercial release or broader deployment.

The program is intended to verify installation workflow, lighting behavior, shade behavior, comfort climate assistance, Residence Mode behavior, manual operation protection, documentation clarity, and support workflow.

## 2. Program Positioning

The trial / beta program is designed for Control4 dealers, programmers, and installers who want to evaluate an independent third-party comfort automation driver for Control4 residential projects.

The driver focuses on:

Adaptive lighting automation

Adaptive shade, blind, and shading automation

Comfort climate assistance for supported AC and floor-heating devices

Reduced repeated room logic programming

High-level intelligent automation behavior without requiring advanced complex programming skills

## 3. Trial Period

Recommended trial period: 30 days.

During the trial period, the dealer should validate the driver in a controlled project environment and confirm whether the automation behavior is appropriate for the residence and homeowner.

The trial period may be extended only if agreed by LivingMind Home.

## 4. Trial Access

Trial access is not provided as a public download.

Dealers interested in the trial should contact:

support@livingmindhome.com

Trial access may include:

Driver file access

Trial authorization or trial enablement

Installation guidance

Configuration guidance

Support and safety boundary documentation

Basic onboarding support

Trial access may be limited based on project type, dealer readiness, support availability, and product stage.

## 5. Recommended Trial Projects

Recommended trial projects include Control4 residential projects with:

Control4 controller online and running Control4 OS version 3.3.0 or later

Multiple rooms with lighting automation needs

Motion sensors or occupancy sensors

Dimmable lights, lighting scenes, or color-temperature-adjustable fixtures

Motorized shades, blinds, or shading devices

Clear room and device naming

Dealer access to Composer Pro

Dealer willingness to review logs and provide structured feedback

Comfort climate assistance can be evaluated if the project includes supported AC or floor-heating devices.

## 6. Projects Not Recommended for Trial

The trial is not recommended for projects where:

The Control4 project is unstable

Devices are not correctly added or controllable in Composer

Room and device naming is unclear

Motion sensors are not placed in the correct rooms

The dealer cannot access Composer Pro

The project requires formal automation support for unsupported systems

The homeowner expects security, life-safety, or emergency response behavior from the driver

The trial should not be used to validate unsupported systems.

## 7. What Should Be Tested During Trial

During the trial, the dealer should evaluate the following areas:

### 7.1 Lighting Automation

Daytime lighting behavior

Evening lighting behavior

Night and late-night lighting behavior

Weather brightness behavior

Manual light on / off protection

Keypad lighting scene behavior

Scene result adjustment through the app where supported

Repeated automatic override prevention

### 7.2 Shade / Blind / Shading Automation

Daytime opening behavior

Orientation and sunlight-related partial closing behavior

Weather-related shade behavior

Night closing behavior

Bedroom night behavior where applicable

Wake-related shade recheck behavior where applicable

Manual shade operation protection

### 7.3 Comfort Climate Assistance

AC comfort cooling under high-temperature conditions

Conservative cooling fallback when weather trend data is missing but indoor temperature is high

AC heating when the room is cold and the current room has no floor heating

Staged AC setpoint rollback after a room becomes unoccupied

Comfort restoration when a room becomes occupied again

Floor-heating target setpoint behavior based on Automation Style

Residence Mode Away energy-saving behavior

Residence Mode Home comfort recheck

### 7.4 Manual Operation Protection

Manual light changes

Manual shade changes

Keypad scene behavior

AC manual changes

Floor-heating manual changes

## 8. Supported Scope During Trial

Trial support covers documented features of the driver, including:

Installation questions

Authorization questions

Project location configuration

Automation Style behavior

Lighting automation behavior

Shade automation behavior

Comfort climate assistance behavior

Residence Mode behavior

Manual operation protection

Review of relevant driver logs

Trial support does not include:

Full Control4 project programming service

General project design unrelated to the driver

Debugging unrelated third-party drivers

Security system design

Life-safety system design

Emergency response system design

HVAC engineering design

Network troubleshooting unrelated to the driver

Unsupported systems listed in the Support & Safety Boundaries document

## 9. Explicitly Unsupported During Trial

The trial / beta program does not provide formal automation support for:

Fresh air systems

Security alarms

Intrusion detection

Door locks

Garage doors

Fire alarms

Smoke alarms

Carbon monoxide alarms

Water leak protection

Gas valves

Medical care

Elderly care

Emergency response automation

Any life-safety or safety-critical system

Do not use the trial driver as the sole basis for any safety-critical action.

## 10. Dealer Responsibilities During Trial

During the trial, the dealer is responsible for:

Installing the driver correctly

Entering accurate project location information

Configuring Automation Style

Correctly naming rooms, lights, and shades

Mapping motion sensors and occupancy sensors to the correct rooms

Assigning keypad buttons to the driver’s lighting scene or shade commands where needed

Confirming supported AC and floor-heating devices are in the correct rooms

Confirming HVAC Control is enabled only when comfort climate assistance should be active

Validating automation behavior in the project

Reviewing homeowner feedback

Collecting relevant logs when issues occur

Disabling or excluding rooms or devices that should not be automatically controlled

The driver can reduce repeated logic programming, but the dealer remains responsible for project validation and homeowner handover.

## 11. Trial Request Information

When requesting trial access, please provide:

Dealer / company name

Contact name

Contact email

Country / region

Control4 OS version

Controller model

Send trial requests to:

support@livingmindhome.com

## 12. Issue Report Requirements

When reporting an issue during trial, include:

Driver version

Control4 OS version

Controller model

Project type

Room name

Device name

Device type

Automation Style

Residence Mode state, if relevant

HVAC Control state, if relevant

Event time

Expected behavior

Actual behavior

Steps to reproduce the issue

Relevant driver log excerpt

Relevant TRACE_HVAC log excerpt, if the issue is climate-related

Do not send private authorization codes, tokens, passwords, or unrelated sensitive project data unless specifically requested by support.

## 13. Feedback Requested During Trial

Useful feedback includes:

Which automation behaviors felt natural

Which behaviors felt too active or too conservative

Whether Eco / Balanced / Proactive were easy to understand

Whether the naming requirements were clear

Whether installation and configuration documents were clear

Whether the support logs were useful

Whether any behavior should be adjusted before broader release

Whether the homeowner accepted the automation behavior

Structured feedback helps improve the driver before wider commercial release.

## 14. Driver Distribution During Trial

The driver file is not intended for public download during the trial / beta period.

Driver access should be provided through controlled onboarding or direct communication with LivingMind Home.

Do not redistribute the driver file without permission.

Do not post the driver file publicly.

## 15. End of Trial

At the end of the trial, the dealer should either:

Continue with a formal license or commercial onboarding path, if available

Request extension if additional validation is needed and approved

Remove or disable the driver if the project will not continue using it

Commercial licensing, platform availability, and distribution method may depend on the release stage and onboarding process.

## 16. Third-Party Notice

LivingMind Home is an independent third-party product and is not affiliated with, endorsed by, or sponsored by Control4, Snap One, or ADI. Control4 is a trademark of its respective owner.